## Slide 1
Power over Ethernet
PoE

## Slide 2: What is PoE?
Is innovative technology that provides a new, more cost-effective method for powering network devices. As described in the IEEE 802.3af standard, PoE enables delivery of power over existing CAT-5 LAN cabling, eliminating the need for running separate – and expensive power cables.

## Slide 3
PoE provides both data and power connections in one cable, so equipment doesn't require a separate cable for each need. For equipment that does not already have a power or data connection, PoE can be attractive when the power demand is modest. For example, PoE is useful for IP telephones , wireless access points, cameras with pan tilt and zoom (PTZ), and remote Ethernet switches. PoE can provide long cable runs e.g. 100 m and deliver 12 W of galvanically isolated power.
How does PoE work?

## Slide 4: Classification
PD – Powered Devices: PDs are end devices that can accept the power transmitted over Ethernet Cat-5 cable.
PSE – Power Source Equipment: PSEs add power to the ethernet cable.
Midspan device: These are power injectors that stands between the standard ethernet switch and the end device.
Endspan devices (PoE Switches): These are Ethernet Switches that includes the circuit to inject power to the ethernet cable

## Slide 5: What are the benefits of PoE?
Saving costs
Safety
Portability
Easy maintenance
Simplicity

## Slide 6: Couple examples

## Slide 7
Want more?